## Slide 1: Knowledge Distillation for echocardiogram View classification
Andris Freimanis Moritz Sprenger Raouf Bahsoun Yu-Ping Hsu
Supervisors: Yinan Yu Charlotte von Numers Luis Arevalo
2023-11-07

## Slide 2: Introduction
The heart and its main functions
  Left and right parts prevent blood mixing
  Ejection fraction and its normal range (55%—65%)
Ejection fraction methods
Knowledge distillation for echocardiogram view classification

## Slide 3: Blood circulation
Source: https://ohiostate.pressbooks.pub/vethisto/chapter/6-blood-circulation/

## Slide 4
Ejection fraction is the percentage of blood pumped out of the heart each time it beats.
MACE = Major Adverse Cardiovascular Events

## Slide 5: cardiac scan
Source:
MRI - https://www.mclaren.org/main/blog/new-technology-sees-detailed-anatomy-of-the-heart-1271
CT - https://www.medicalnewstoday.com/articles/heart-ct-scan
SPEC/CT - https://psma-pet.radiologische-allianz.de/en/method/scintigraphy-of-the-heart/
MRI
CT
SPEC/CT

## Slide 6: cardiac scan- ECHOCARDIOGRAM
A2C
A4C
PLAX
PSAX
Source: https://www.techmed.sk/en/echo/

## Slide 7: ECHOCARDIOGRAM Artifacts
Source:
https://www.asecho.org/wp-content/uploads/2021/01/2016_JASE_Bertrand_Fact-or-Artifact.pdf
https://www.semanticscholar.org/paper/Imaging-artifacts-during-transesophageal-Pamnani-Skubas/b9a8e62727eebe4b5cc4476dd8a74e99215ef516

## Slide 8: Project objectives
Find an optimal student model for high performance on mobile devices
  Keep >90% of Teacher performance
  Memory size <50 MB
  Inference Speed <0.5 sec (30 FPS)
Identify suitable student architectures
Transfer knowledge from the teacher to the student models

## Slide 9: Basic framework for knowledge distillation

## Slide 10: Knowledge distillation overview
Smaller model is supervised by a larger teacher model
Types of knowledge:
  Response-based
  Feature-based
  Relation-based
Distillation algorithms:
  Offline distillation (most common)
  Online distillation
  Self-distillation
Importance of the architecture of the teacher and student model in knowledge distillation

## Slide 11: Prerequisites
Temperature-scaled softmax:
Distillation loss:
Student Loss:

## Slide 12: Methods
Focus on offline-based knowledge distillation
Three response-based techniques were identified for the task

## Slide 13: Methods
Vanilla KD:
Conditional KD
  Only use Distillation loss when teacher is correct
Curriculum KD
  Learn dynamic temperature in adversarial manner
  Use curriculum learning to progressively make task harder throughout Training

## Slide 14: Experimental setup
Four different student architectures optimized for mobile devices
  Mobilenet-V3-large/small
  Shufflenet
  Ghostnet
Metrics used for performance evaluation:
  Validation accuracy
  Validation F1-score
Metrics used for speed and size evaluation:
  Inference and train speed
  Size in megabytes

## Slide 15: Validation accuracy of different student architectures

## Slide 16: Results

## Slide 17: Limitations
Restricted Hyperparameter search space
Lack of statistical significance testing
Results without KD are already very close to teacher model

## Slide 18: Q&A

## Slide 19: THANK YOU